## Microbiological Parameters
Sl. No. | Section/Department | Matrix category (Food & Feed/Water/Food Contact Materials/Environment/Consumer Products, Swab) | Matrix Sub Category | Parameter Category (Sensory/Physical/Gravimetric/Chemical/Microbiological) | Parameter Code | Internal Parameters Name | Name of parameters as in Report (COA) | Reference Method | Test Method (SOP) | Method Version (Revision Number) | Unit | LOD (Limit of Detection) | LOQ (Limit of Quantification) | Range | Type of Testing | Type of Result (Numeric, Text) | Pass/Fail, Presence/Absence/Detected/Not Detected, Positive/Negative) | Decimal Places | Accreditation Scope (Accredited/Non-Accredited) | Measurement Uncertainty % | Instrument used | Formula | Active/Inactive Status | TAT (Hours/Days) | Created By | Approved By | Remark
1 | Microbiology | Food & Feed | (General Foods, Creal and Creal Products/Spice and condiments/Dairy/Animal Feed/Oil & Fat/Fruits & Vegetables/Beverage/Meat & Poultry/Sea Food) | Microbiological | MB-MAP-001 | Mesophilic Aerobic Plate Count in Food Samples | Mesophilic Aerobic Plate Count | CMMEF 5th Edition Chapter 8 | AMS/M/SOP/023 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
2 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Enterobacteriaceae in Food Samples | Enterobacteriaceae | CMMEF 5th Edition Chapter 9 | AMS/M/SOP/025 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
3 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of E. coli in Food Samples | E. coli | CMMEF 5th Edition Chapter 9 | AMS/M/SOP/026 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
4 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Coliforms in Food Samples | Coliforms | CMMEF 5th Edition Chapter 9 | AMS/M/SOP/024 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
5 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Yeast and Molds in Food Samples | Yeast and Molds | CMMEF 5th Edition Chapter 21 | AMS/M/SOP/028 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
6 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Staphylococcus aureus in Food Samples | Staphylococcus aureus | US FDA BAM CH 12 (March 2016 | AMS/M/SOP/021 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
7 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Salmonella in Food Samples | Salmonella | Reference method - CMMEF 5th Edition Chapter 36 | AMS/M/SOP/032 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
8 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Salmonella in Food by RT-PCR | Salmonella | In-house Method | AMS/M/SOP/056 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
9 | Microbiology | Food & Feed |  | Microbiological |  | Total anaerobic plate count in Food Samples | Total anaerobic plate count | In-house method based on CMMEF 5th Edition Chapter 8 | AMS/M/SOP/027 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
10 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Listeria monocytogenes in Food Samples | Listeria monocytogenes | CMMEF 5th Edition Chapter 35 | AMS/M/SOP/033 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
11 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Listeria monocytogenes in Food by RT-PCR | Listeria monocytogenes | In-house Method | AMS/M/SOP/065 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
12 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Bacillus cereus in Food Samples | Bacillus cereus | US FDA BAM CH 14 (Oct 2020 | AMS/M/SOP/022 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
13 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Clostridium perfringens in Food Samples | Clostridium perfringens | CMMEF 5th Edition Chapter 33 | AMS/M/SOP/029 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
14 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Vibrio parahemolyticus in Food Samples by MPN Method | Vibrio parahemolyticus | CMMEF 5th Edition Chapter 40 | AMS/M/SOP/034 | Rev.00 | MPN/g |  | 3 |  | Quantitative | Numerical |  | 1 | Yes
15 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Mesophilic Aerobic Endospore- forming Bacilli in Food Samples | Mesophilic Aerobic Endospore- forming Bacilli | CMMEF 5th Edition Chapter 23 | AMS/M/SOP/030 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
16 | Microbiology | Food & Feed |  | Microbiological |  | Detection of E. coli O157 in Food Samples | E. coli O157 | AOAC 2000.14 (20 Hours) Reveal test kit | AMS/M/SOP/031 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
17 | Microbiology | Food & Feed |  | Microbiological |  | Detection of E. coli O157 in Food by RT-PCR | E. coli O157 | In-house Method | AMS/M/SOP/066 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
18 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Campylobacter Species in Food Samples | Campylobacter Species | In-house Method based on AOAC Performance Tested Method (120401) | AMS/M/SOP/057 (Reference method - | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
19 | Microbiology | Food & Feed |  | Microbiological |  | Enumeration of Sulphite reducing Clostridia in Food Samples | Sulphite reducing Clostridia | In-house method based on ISO 15231-1:2023 | AMS/M/SOP/058 | Rev.00 | CFU/g |  | 10 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
20 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Cronobacter spp. in Food by RT-PCR | Cronobacter spp. | In-house SOP based on US FDA BAM Chapter 29 | AMS/M/SOP/059 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
21 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Shigella in Food Sample | Shigella | BAM Chapter 6, March 2023 | AMS/M/SOP/070 | Rev.00 | /25g |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
22 | Microbiology | Food & Feed |  | Microbiological |  | Accelerated Shelf Life Testing of Food |  | In-house Method | AMS/M/SOP/068 | Rev.00 |  |  |  |  | Qualitative & Quantitative | Numerical and Text |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
23 | Microbiology | Food & Feed |  | Microbiological |  | Real Time Shelf Life Testing of Food |  | In-house Method | AMS/M/SOP/069 | Rev.00 |  |  |  |  | Qualitative & Quantitative | Numerical and Text |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
24 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Pork DNA in Food Samples by RT-PCR | Pork DNA | In-house Method | AMS/M/SOP/037 | Rev.00 | /25g |  |  |  | Qualitative | Text | Present/Absent |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine/NA Extraction System
25 | Microbiology | Food & Feed |  | Microbiological |  | Detection of Traces of Pork Gelatin in Food Samples by RT-PCR | Pork Gelatin | In-house Method | AMS/M/SOP/067 | Rev.00 | /25g |  |  |  | Qualitative | Text | Present/Absent |  | Yes
26 | Microbiology | Food & Feed |  | Microbiological |  | Screening of Regulatory GMO Markers (S35, tNOS, FMV, BAR) in Food Samples | GMO Markers (S35, tNOS, FMV, BAR) | In-house Method | AMS/M/SOP/036 | Rev.00 | /25g |  |  |  | Qualitative | Text | Present/Absent |  | Yes
27 | Microbiology | Water | Drinking Water/Bottle Water/Distilled Water/Water/Portable Water/Sea Water/Waste Water/Pool Water) | Microbiological |  | Heterotropic Plate Count in Water | Heterotropic Plate Count | APHA 9215B, 24th Edition | AMS/M/SOP/038 | Rev.00 | CFU/mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
28 | Microbiology | Water |  | Microbiological |  | Enumeration of Total Coliforms in Water by Membrane Filtration | Total Coliforms | APHA 9222 B, 24th Edition | AMS/M/SOP/039 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter/Filtration Manifold
29 | Microbiology | Water |  | Microbiological |  | Enumeration of E. coli in Water by Membrane Filtration | E. coli | APHA 9222 H, 24th Edition | AMS/M/SOP/039 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes
30 | Microbiology | Water |  | Microbiological |  | Enumeration of Fecal Coliforms in Water by Membrane Filtration | Fecal Coliforms | APHA 9222 G, 24th Edition | AMS/M/SOP/039 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes
31 | Microbiology | Water |  | Microbiological |  | Enumeration of Pseudomonas aeruginosa in Water by Membrane Filtration | Pseudomonas aeruginosa | APHA 9213 E, 24th Edition) | AMS/M/SOP/042 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes
32 | Microbiology | Water |  | Microbiological |  | Enumeration of Fecal Streptococci in Water by Membrane Filtration | Fecal Streptococci | APHA 9230 C, 24th Edition | AMS/M/SOP/040 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes
33 | Microbiology | Water |  | Microbiological |  | Enumeration of Legionella in Water Sample | Legionella | ISO 11731: 2017 | AMS/M/SOP/045 | Rev.00 | CFU/L |  | 2 |  | Quantitative | Numerical |  | 1 | Yes
34 | Microbiology | Water |  | Microbiological |  | Enumeration of Legionella in Water Sample by RT-PCR method | Legionella | In-house method | AMS/M/SOP/055 | Rev.00 | CFU/L |  |  |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
35 | Microbiology | Water |  | Microbiological |  | Enumeration of sulphite-reducing Clostridia in Water by Membrane Filtration | Sulphite-reducing Clostridia | Standing Committee of Analysts- The Microbiology of Drinking Water (2021)- Part 6) | AMS/M/SOP/054 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter/Filtration Manifold
36 | Microbiology | Water |  | Microbiological |  | Enumeration of Yeast & Mold in Water by Membrane Filtration | Yeast & Mold | APHA 9610 D, 24th Edition | AMS/M/SOP/044 | Rev.00 | CFU/100 mL |  | 1 |  | Quantitative | Numerical |  | 1 | Yes
37 | Microbiology | Swab | NA | Microbiological |  | Aerobic Plate Count of Environmental Samples | Aerobic Plate Count | In-house SOP based on CMMEF 5th Edition Chapter 3 and 8 | AMS/M/SOP/047 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter
38 | Microbiology | Swab |  | Microbiological |  | Enumeration of Coliforms in Environmental Samples | Coliforms | In-house SOP based on CMMEF 5th Edition Chapter 3 and 9 | AMS/M/SOP/048 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
39 | Microbiology | Swab |  | Microbiological |  | Enumeration of E. coli in Environmental Samples | E. coli | In-house SOP based on CMMEF 5th Edition Chapter 3 and 9 | AMS/M/SOP/050 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
40 | Microbiology | Swab |  | Microbiological |  | Enumeration of Enterobacteriaceae in Environmental Samples | Enterobacteriaceae | In-house SOP based on CMMEF 5th Edition Chapter 3 and 9 | AMS/M/SOP/049 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
41 | Microbiology | Swab |  | Microbiological |  | Enumeration of Staphylococcus aureus in Environmental Samples | Staphylococcus aureus | In-house SOP based on CMMEF 5th Edition Chapter 3 and BAM Chapter 12 (March 2016 Edition) | AMS/M/SOP/051 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
42 | Microbiology | Swab |  | Microbiological |  | Enumeration of Yeast and Mold in Environmental Samples | Yeast and Mold | In-house SOP based on CMMEF 5th Edition Chapter 3 and 21 | AMS/M/SOP/052 | Rev.00 | CFU/swab or CFU/cm2 |  | 10 |  | Quantitative | Numerical |  | 1 | Yes
43 | Microbiology | Swab |  | Microbiological |  | Detection of Salmonella in Environmental Samples | Salmonella | In-house SOP based on CMMEF 5th Edition Chapter 3 and 36 | AMS/M/SOP/053 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
44 | Microbiology | Swab |  | Microbiological |  | Detection of Salmonella in Environmental Samples by RT-PCR | Salmonella | In-house Method | AMS/M/SOP/056 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
45 | Microbiology | Swab |  | Microbiological |  | Detection of Listeria monocytogenes in Environmental Samples | Listeria monocytogenes | (Reference method - In-house SOP based on CMMEF 5th Edition Chapter 3 and 35) | AMS/M/SOP/017 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
46 | Microbiology | Swab |  | Microbiological |  | Detection of Listeria monocytogenes in Environmental Samples by RT-PCR | Listeria monocytogenes | In-house Method | AMS/M/SOP/065 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
47 | Microbiology | Swab |  | Microbiological |  | Detection of E. coli O157 in Environmental Samples | E. coli O157 | In-house SOP based on AOAC 2000.14 (20 Hours) Reveal test kit method | AMS/M/SOP/016 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet
48 | Microbiology | Swab |  | Microbiological |  | Detection of E. coli O157 in Environmental Samples by RT-PCR | E. coli O157 | In-house Method | AMS/M/SOP/066 | Rev.00 | /swab or /cm2 |  |  |  | Qualitative | Text | Detected/Not Detected |  | Yes |  | Incubator/Biosafety Cabinet/RT-PCR Machine
49 | Microbiology | Environment | Air monitoring | Microbiological |  | Total Plate Count in Air | Total Plate Count | In-house Method based on CMMEF 5th Edition Chapter 3 | AMS/M/SOP/046 | Rev.00 | CFU/m3 |  | 1 |  | Quantitative | Numerical |  | 1 | Yes |  | Incubator/Biosafety Cabinet/Colony Counter/Air Sampler
50 | Microbiology | Environment |  | Microbiological |  | Enumeration of Yeast and Mold in Air | Yeast and Mold | In-house Method based on CMMEF 5th Edition Chapter 3 | AMS/M/SOP/046 | Rev.00 | CFU/m3 |  | 1 |  | Quantitative | Numerical |  | 1 | Yes

## Chemical Parameters
Sl. No. | Section/Department | Matrix category (Food & Feed/Water/Food Contact Materials/Environment/Consumer Products, Swab) | Matrix Sub Category | Parameter Category (Sensory/Physical/Gravimetric/Chemical/Microbiological/Nutritional/Residue/Metal) | Parameter Code | Internal Parameters Name | Name of parameters as in Report (COA) | Reference Method | Test Method (SOP) | Method Version (Revision Number) | Unit | LOD (Limit of Detection) | LOQ (Limit of Quantification) | Range | Type of Testing | Type of Result (Numeric, Text) | Pass/Fail, Presence/Absence/Detected/Not Detected, Positive/Negative) | Decimal Places | Accreditation Scope (Accredited/Non-Accredited) | Measurement Uncertainty % | Instrument | Formula | Active/Inactive Status | TAT (Hours/Days) | Parameter Created By | Parameter Approved By | Parameter Remark
1 | Chemical | Food | Food and feed | Chemical |  | Moisture and Volatile Matter | Moisture and volatile matter | In-house Method based on AOAC/ISO/Indian Standard | AMS/C/SOP/024 | Rev.00 | g/100g, % |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | Balance/Hot Air Oven
2 | Chemical | Food | Food and feed | Chemical |  | Total Ash | Total Ash | In-house Method based on AOAC/ISO/Indian Standard | AMS/C/SOP/025 | Rev.00 | g/100g, % |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | Balance/Muffle Furnace
3 | Chemical | Food | Food and feed | Chemical |  | Total Fat | Total Fat | In-house Method based on AOAC/ISO/Indian Standard | AMS/C/SOP/028 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance/BUCHI Fat Extractor /Hot Air Oven
4 | Chemical | Food | Food and feed | Chemical |  | Total Carbohydrates | Carbohydrates | AOAC 986.25/Calculation | AMS/C/SOP/026 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes
5 | Chemical | Food | Food and feed | Chemical |  | Energy | Energy | In-house Method based on AOAC/ISO/Indian Standard | AMS/C/SOP/027 | Rev.00 | g/100g, % |  |  | 4 - 900 | Quantitative | Numerical |  | 2 | Yes
6 | Chemical | Food | Food and feed | Chemical |  | Crude Fiber | Crude Fiber | ISO/AOAC/Indian Standard | AMS/C/SOP/081 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance/Hot Air Oven/Muffle Furnace
7 | Chemical | Food | Food and feed | Chemical |  | Total Dietary Fiber | Total Dietary Fiber | AOAC 985.29/AOAC 991.43 | AMS/C/SOP/090 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance/Water Bath/Hot Air Oven/Muffle Furnace
8 | Chemical | Food | Food and feed | Chemical |  | Total Protien | Total Protien | AOAC 984.13/ AOAC 968.06 | AMS/C/SOP/029 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance/ BUCHI KjelMaster System
9 | Chemical | Food | Food and feed | Chemical |  | Peroxide Value | Peroxide Value | AOAC 965.33/ISO 3960-2017 | AMS/C/SOP/078 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance
10 | Chemical | Food | Food and feed | Chemical |  | Acid value & free fatty acid | Acid value & free fatty acid | AOAC 940.28 (Titrimetric) | AMS/C/SOP/075 | Rev.00 | g/100g, % |  |  | 0.1 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Balance/Titrette Digital Burette
11 | Chemical | Food | Food and feed | Metals |  | Aluminum | Aluminum | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
12 | Chemical | Food | Food and feed | Metals |  | Boron | Boron | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
13 | Chemical | Food | Food and feed | Metals |  | Barium | Barium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
14 | Chemical | Food | Food and feed | Metals |  | Calcium | Calcium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
15 | Chemical | Food | Food and feed | Metals |  | Cobalt | Cobalt | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
16 | Chemical | Food | Food and feed | Metals |  | Chromium | Chromium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
17 | Chemical | Food | Food and feed | Metals |  | Copper | Copper | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
18 | Chemical | Food | Food and feed | Metals |  | Iron | Iron | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
19 | Chemical | Food | Food and feed | Metals |  | Potassium | Potassium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
20 | Chemical | Food | Food and feed | Metals |  | Lithium | Lithium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
21 | Chemical | Food | Food and feed | Metals |  | Magnesium | Magnesium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
22 | Chemical | Food | Food and feed | Metals |  | Manganese | Manganese | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
23 | Chemical | Food | Food and feed | Metals |  | Molybdenum | Molybdenum | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
24 | Chemical | Food | Food and feed | Metals |  | Sodium | Sodium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
25 | Chemical | Food | Food and feed | Metals |  | Nickel | Nickel | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
26 | Chemical | Food | Food and feed | Metals |  | Phosphorus | Phosphorus | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
27 | Chemical | Food | Food and feed | Metals |  | Sulfur | Sulfur | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
28 | Chemical | Food | Food and feed | Metals |  | Silicon | Silicon | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
29 | Chemical | Food | Food and feed | Metals |  | Strontium | Strontium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
30 | Chemical | Food | Food and feed | Metals |  | Titanium | Titanium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
31 | Chemical | Food | Food and feed | Metals |  | Vanadium | Vanadium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
32 | Chemical | Food | Food and feed | Metals |  | Zinc | Zinc | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/056 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
33 | Chemical | Food | Food and feed | Metals |  | Arsenic | Arsenic | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
34 | Chemical | Food | Food and feed | Metals |  | Cadmium | Cadmium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
35 | Chemical | Food | Food and feed | Metals |  | Lead | Lead | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
36 | Chemical | Food | Food and feed | Metals |  | Mercury | Mercury | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
| Chemical | Food | Food and feed | Metals |  | Selenium | Selenium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
| Chemical | Food | Food and feed | Metals |  | Antimony | Antimony | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
| Chemical | Food | Food and feed | Metals |  | Tin | Tin | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
| Chemical | Food | Food and feed | Metals |  | Thallium | Thallium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
| Chemical | Food | Food and feed | Metals |  | Uranium | Uranium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
37 | Chemical | Food | Food and feed | Metals |  | Beryllium | Beryllium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
38 | Chemical | Food | Food and feed | Metals |  | Silver | Silver | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
39 | Chemical | Food | Food and feed | Metals |  | Cesium | Cesium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
40 | Chemical | Food | Food and feed | Metals |  | Rubidium | Rubidium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
41 | Chemical | Food | Food and feed | Metals |  | Gallium | Gallium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
42 | Chemical | Food | Food and feed | Metals |  | Germanium | Germanium | EPA3052/AOAC 2015.01/EN 15763/ISO | AMS/C/SOP/058 | Rev.00 | mg/kg |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
43 | Chemical | Water | Water | Physical |  | Appearance | Appearance | APHA 2110 | AMS/C/SOP/044 | Rev.00 | – |  |  |  | Physical | Text |  |  | Yes
44 | Chemical | Water | Drinking Water/Bottle Water/Waste Water | Sensory |  | Odour | Odour | APHA 2150 C | AMS/C/SOP/045 | Rev.00 | – |  |  |  | Sensory | Text |  |  | Yes
45 | Chemical | Water | Drinking Water/Portable Water | Sensory |  | Taste | Taste | APHA 2150 B | AMS/C/SOP/046 | Rev.00 | – |  |  |  | Sensory | Text |  |  | Yes
46 | Chemical | Water | Water | Chemical |  | Turbidity | Turbidity | APHA 2130 B | AMS/C/SOP/089 | Rev.00 | NTU |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | Turbidity Meter
47 | Chemical | Water | Water | Chemical |  | Colour | Colour | HACH 8025 | AMS/C/SOP/037 | Rev.00 | Pt-Co |  |  |  | Quantitative | Numerical |  | 2 | Yes |  | HACH
48 | Chemical | Water | Water | Physical |  | Temperature | Temperature | APHA 2550 | AMS/C/SOP/048 | Rev.00 | °C |  |  | 0.0 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Thermometer
49 | Chemical | Water | Water | Chemical |  | Electrical conductivity | Electrical conductivity | APHA 2510 B | AMS/C/SOP/030 | Rev.00 | µS/cm |  |  | 0.0 - 100 | Quantitative | Numerical |  | 2 | Yes |  | Conductivity Meter
50 | Chemical | Water | Water | Chemical |  | Total Suspened Solids | Total Suspened Solids | APHA 2540 D | AMS/C/SOP/032 | Rev.00 | mg/L |  | 5 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance/Hot Air Oven
51 | Chemical | Water | Water | Chemical |  | Total Dissolved Solids | Total Dissolved Solids | APHA 2540 C | AMS/C/SOP/033 | Rev.00 | mg/L |  | 5 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance/Hot Air Oven
52 | Chemical | Water | Water | Chemical |  | pH | pH | APHA 4500 H+B | AMS/C/SOP/031 | Rev.00 | – |  |  | 1.0 - 14 | Quantitative | Numerical |  | 2 | Yes |  | pH Meter
53 | Chemical | Water | Water | Chemical |  | Total Alkalinity | Total Alkalinity | APHA 2320 B | AMS/C/SOP/034 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
54 | Chemical | Water | Water | Chemical |  | Phenolphthalien Alkalinty | Phenolphthalien Alkalinty | APHA 2320 B | AMS/C/SOP/034 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
55 | Chemical | Water | Water | Chemical |  | Bicarbonate Alkalinity | Bicarbonate Alkalinity | APHA 2320 B | AMS/C/SOP/034 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
56 | Chemical | Water | Water | Chemical |  | Calcium Hardness | Calcium Hardness | APHA 2340 B | AMS/C/SOP/035 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
57 | Chemical | Water | Water | Chemical |  | Magnessium Hardness | Magnessium Hardness | APHA 2340 B | AMS/C/SOP/035 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
58 | Chemical | Water | Water | Chemical |  | Total Hardness | Total Hardness | APHA 2340 B/C | AMS/C/SOP/035 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
59 | Chemical | Water | Water | Chemical |  | Carbonate Hardness | Carbonate Hardness | APHA 2340 B | AMS/C/SOP/035 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
60 | Chemical | Water | Water | Chemical |  | Non Carbonate Hardness | Non Carbonate Hardness | APHA 2340 B | AMS/C/SOP/035 | Rev.00 | mg/L |  | 1 |  | Quantitative | Numerical |  | 2 | Yes |  | Balance
61 | Chemical | Water | Water | Chemical |  | Fluoride | Fluoride | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
62 | Chemical | Water | Water | Chemical |  | Chloride | Chloride | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
63 | Chemical | Water | Water | Chemical |  | Nitrite | Nitrite | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
64 | Chemical | Water | Water | Chemical |  | Bromide | Bromide | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
65 | Chemical | Water | Water | Chemical |  | Nitrate | Nitrate | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
66 | Chemical | Water | Water | Chemical |  | Phosphate | Phosphate | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
67 | Chemical | Water | Water | Chemical |  | Sulfate | Sulfate | APHA 4110 B -IC | AMS/C/SOP/053 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Ion Chromatography
68 | Chemical | Water | Water | Chemical |  | Free chlorine | Free chlorine | HACH 8021 | AMS/C/SOP/043 | Rev.00 | mg/L |  | 0.05 |  | Quantitative | Numerical |  | 2 | Yes |  | Colourimeter
69 | Chemical | Water | Water | Metals |  | Calcium | Calcium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
70 | Chemical | Water | Water | Metals |  | Magnessium | Magnessium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
71 | Chemical | Water | Water | Metals |  | Sodium | Sodium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
72 | Chemical | Water | Water | Metals |  | Potassium | Potassium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
73 | Chemical | Water | Water | Metals |  | Phosphorus | Phosphorus | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-OES
74 | Chemical | Water | Water | Metals |  | Aluminium | Aluminium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
75 | Chemical | Water | Water | Metals |  | Antimony | Antimony | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
76 | Chemical | Water | Water | Metals |  | Arsenic | Arsenic | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
77 | Chemical | Water | Water | Metals |  | Barium | Barium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
78 | Chemical | Water | Water | Metals |  | Boron | Boron | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
79 | Chemical | Water | Water | Metals |  | Berellium | Berellium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
80 | Chemical | Water | Water | Metals |  | Cadmium | Cadmium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
81 | Chemical | Water | Water | Metals |  | Cobalt | Cobalt | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
82 | Chemical | Water | Water | Metals |  | Chromium | Chromium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
83 | Chemical | Water | Water | Metals |  | Copper | Copper | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
84 | Chemical | Water | Water | Metals |  | lithium | lithium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
85 | Chemical | Water | Water | Metals |  | Lead | Lead | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
86 | Chemical | Water | Water | Metals |  | Iron | Iron | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
87 | Chemical | Water | Water | Metals |  | Manganese | Manganese | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
88 | Chemical | Water | Water | Metals |  | Mercury | Mercury | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
89 | Chemical | Water | Water | Metals |  | Molybdenum | Molybdenum | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
90 | Chemical | Water | Water | Metals |  | Nickel | Nickel | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
91 | Chemical | Water | Water | Metals |  | Selenium | Selenium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
92 | Chemical | Water | Water | Metals |  | Silver | Silver | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
93 | Chemical | Water | Water | Metals |  | Silica | Silica | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
94 | Chemical | Water | Water | Metals |  | Strontium | Strontium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
95 | Chemical | Water | Water | Metals |  | Thallium | Thallium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
96 | Chemical | Water | Water | Metals |  | Titanium | Titanium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
97 | Chemical | Water | Water | Metals |  | Tin | Tin | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
98 | Chemical | Water | Water | Metals |  | Vanadium | Vanadium | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS
99 | Chemical | Water | Water | Metals |  | Zinc | Zinc | APHA 3120 B/APHA 3125 B | AMS/C/SOP/055 | Rev.00 | mg/L |  | 0.01 |  | Quantitative | Numerical |  | 2 | Yes |  | ICP-MS

## Instrumental Parameters
Si. No. | Section/Department | Matrix category (Food & Feed/Water/Food Contact Materials/Environment/Consumer Products, Swab) | Matrix Sub Category | Parameter Category (Sensory/Physical/Gravimetric/Chemical/Microbiological) | Parameter Code | Internal Parameters Name | Name of parameters as in Report (COA) | Reference Method | Test Method (SOP) | Method Version (Revision Number) | Unit | LOD (Limit of Detection) | LOQ (Limit of Quantification) | Range | Type of Testing | Type of Result (Numeric, Text) | Pass/Fail, Presence/Absence/Detected/Not Detected, Positive/Negative) | Decimal Places | Accreditation Scope (Accredited/Non-Accredited) | Measurement Uncertainty % | Instrument used | Formula | Active/Inactive Status | TAT (Hours/Days) | Created By | Approved By | Remark
1 | Chemistry | Food & Feed | (General Foods, Creal and Creal Products/Spice and condiments/Dairy/Animal Feed/Oil & Fat/Fruits & Vegetables/Beverage/Meat & Poultry/Sea Food) | Chemical |  | Pesticide Residues(LCMSMS) 220 | As per compound list | AOAC 21st Edition Method 2007.01 | AMS/C/SOP/001 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
2 | Chemistry | Food & Feed |  | Chemical |  | Pesticide (GCMSMS) 219 | As per compound list | AOAC 21st Edition Method 2007.01 | AMS/C/SOP/007 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | GC-MSMS
3 | Chemistry | Food & Feed |  | Chemical |  | Pesticide Residue (LCMSMS & GCMSMS) 915 | As per compound list | AOAC 21st Edition Method 2007.01 | AMS/C/SOP/001&007 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS/GC-MSMS
4 | Chemistry | Food & Feed |  | Chemical |  | Pesticide Residue (LCMSMS & GCMSMS) 439 | As per compound list | AOAC 21st Edition Method 2007.01 | AMS/C/SOP/001&007 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS/GC-MSMS
5 | Chemistry | Food & Feed |  | Chemical |  | Pesticide Residue (LCMSMS - Polar Pesticides) 22 | As per compound list | EURL-SRM (Version 12.3) | AMS/C/SOP/001 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
6 | Chemistry | Food & Feed |  | Chemical |  | Mycotoxins Profile | As per compound list | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
7 | Chemistry | Food & Feed |  | Chemical |  | Total Aflatoxin | As per compound list | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
8 | Chemistry | Food & Feed |  | Chemical |  | Ochratoxin A | Ochratoxin A | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
9 | Chemistry | Food & Feed |  | Chemical |  | Ochratoxin B | Ochratoxin B | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
10 | Chemistry | Food & Feed |  | Chemical |  | Ochratoxin A&B | Ochratoxin A&B | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
11 | Chemistry | Food & Feed |  | Chemical |  | Fumonisin B1 & B2 | Fumonisin B1 & B2 | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 50 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
12 | Chemistry | Food & Feed |  | Chemical |  | Fusarim | Fusarim | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 50 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
13 | Chemistry | Food & Feed |  | Chemical |  | T2- Toxin | T2- Toxin | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
14 | Chemistry | Food & Feed |  | Chemical |  | HT2-Toxin | HT2-Toxin | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 0.5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
15 | Chemistry | Food & Feed |  | Chemical |  | Deoxynivalenol (DON) - Vomitoxin | Deoxynivalenol (DON) - Vomitoxin | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 50 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
16 | Chemistry | Food & Feed |  | Chemical |  | Zearalenone (ZON) | Zearalenone (ZON) | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 5 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
17 | Chemistry | Food & Feed |  | Chemical |  | Nivalenol (NIV) | Nivalenol (NIV) | Commission Regulation (EC) No 1881/2006 | AMS/C/SOP/002 | Rev.00 | µg/kg |  | 50 |  | Quantitative | Numerical |  | 3 | Yes |  | LC-MSMS
18 | Chemistry | Food & Feed |  | Chemical |  | Total Sugar | Total Sugar | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.5 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
19 | Chemistry | Food & Feed |  | Chemical |  | Fructose | Fructose | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
20 | Chemistry | Food & Feed |  | Chemical |  | Glucose | Glucose | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
21 | Chemistry | Food & Feed |  | Chemical |  | Sucrose | Sucrose | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
22 | Chemistry | Food & Feed |  | Chemical |  | Maltose | Maltose | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
23 | Chemistry | Food & Feed |  | Chemical |  | Lactose | Lactose | AOAC 977.20, 980.13 & AOAC 982.14 | AMS/C/SOP/015 | Rev.00 | g/100g |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | HPLC
24 | Chemistry | Food & Feed |  | Chemical |  | Fatty Acid Profile (FAME) - 37 Mix | As per components list | AOAC 996.06 | AMS/C/SOP/018 | Rev.00 | % |  | 0.1 |  | Quantitative | Numerical |  | 2 | Yes |  | GC-FID
25 | Chemistry | Food & Feed |  | Chemical |  | Alcohol Content | Alcohol Content | AOAC 983.23/AOAC 2016.12 | AMS/C/SOP/020 | Rev.00 | mg/kg |  | 0.01 |  | Quantitative | Numerical |  | 3 | Yes |  | GC-FID-Head Space